Fort Lupton Intersection README

Overview

The Fort Lupton Intersection deployment is led by the Air Toxics and Ozone Precursors Program (ATOPs) within the Air Pollution Control Division (APCD) of the Colorado Department of Public Health and Environment (CDPHE). The deployment was initiated to respond to emissions of benzene and methane from a broken orange pipeline along County Road 20 in Fort Lupton. This README file explains the instruments used, compounds detected, units of measurement, and specifications relevant for data interpretation.

Measurement Specifications

Total alkanes, methane (CH4)

| Instrument Manufacturer | FluxSense |
| --- | --- |
| Instrument Model | MeFTIR V6 |
| Compounds Detected | Total alkanes, Methane (CH4) |
| Units | ppbV, ppbV |
| Detection Limits (in units) | 5, 15 |
| Sampling Resolution | 4-10 seconds |
| Notes | Measured quantity is the local concentration in extracted air above reference/start value. |

Benzene

| Instrument Manufacturer | FluxSense |
| --- | --- |
| Instrument Model | MeDOAS V4 |
| Compounds Detected | Benzene |
| Units | ppbV |
| Detection Limits (in units) | 1 |
| Sampling Resolution | 4-10 seconds |
| Notes | Measured quantity is the local concentration in extracted air above reference/start value. |