## Sample Data
SAMPLENAME | LABSAMPID | SAMPDATE | PREPDATE | ANADATE | ANALYTE | CASNUMBER | RESULT | ANOTE | DL | UNITS | LABNAME
Site 1 - Park West | 4121911-07 | 12/15/2024 23:59 | 12/15/2024 23:59 | 12/24/2024 19:32 | Ethylene oxide | 75-21-8 | 0.324 |  | 0.0255 | ppbv | Eastern Research Group
Site 1 - Park West C1 | 4122608-28 | 12/20/2024 23:59 | 12/20/2024 23:59 | 01/01/2025 09:29 | Ethylene oxide | 75-21-8 | 0.0724 |  | 0.0255 | ppbv | Eastern Research Group
Site 1 - Park West C2 | 4122608-27 | 12/20/2024 23:59 | 12/20/2024 23:59 | 01/01/2025 07:21 | Ethylene oxide | 75-21-8 | 0.0336 |  | 0.0255 | ppbv | Eastern Research Group
Site 1 - Park West | 4122608-29 | 12/22/2024 23:59 | 12/22/2024 23:59 | 01/02/2025 12:50 | Ethylene oxide | 75-21-8 | 0.0373 |  | 0.0255 | ppbv | Eastern Research Group
Site 2 - Bus Barn | 4121911-01 | 12/15/2024 23:59 | 12/15/2024 23:59 | 12/24/2024 11:51 | Ethylene oxide | 75-21-8 | 0.16 |  | 0.0255 | ppbv | Eastern Research Group
Site 2 - Bus Barn | 4122327-03 | 12/17/2024 23:59 | 12/17/2024 23:59 | 12/25/2024 04:01 | Ethylene oxide | 75-21-8 | 0.0451 |  | 0.0255 | ppbv | Eastern Research Group
Site 2 - Bus Barn C1 | 4122327-04 | 12/18/2024 23:59 | 12/18/2024 23:59 | 12/27/2024 16:25 | Ethylene oxide | 75-21-8 | 0.0563 |  | 0.0255 | ppbv | Eastern Research Group
Site 2 - Bus Barn C2 | 4122327-05 | 12/18/2024 23:59 | 12/18/2024 23:59 | 12/27/2024 18:32 | Ethylene oxide | 75-21-8 | 0.0444 |  | 0.0255 | ppbv | Eastern Research Group
Site 2 - Bus Barn | 4122608-11 | 12/19/2024 23:59 | 12/20/2024 23:59 | 12/31/2024 07:44 | Ethylene oxide | 75-21-8 | 0.0538 |  | 0.0255 | ppbv | Eastern Research Group
Site 2 - Bus Barn | 4122608-06 | 12/20/2024 23:59 | 12/20/2024 23:59 | 12/31/2024 08:48 | Ethylene oxide | 75-21-8 | 0.0657 |  | 0.0255 | ppbv | Eastern Research Group
Site 2 - Bus Barn | 4122608-34 | 12/21/2024 23:59 | 12/21/2024 23:59 | 01/04/2025 04:17 | Ethylene oxide | 75-21-8 | 0.0709 |  | 0.0255 | ppbv | Eastern Research Group
Site 2 - Bus Barn | 4122608-24 | 12/22/2024 23:59 | 12/22/2024 23:59 | 01/01/2025 05:13 | Ethylene oxide | 75-21-8 | 0.0683 |  | 0.0255 | ppbv | Eastern Research Group
Site 3 - Rec. Center | 4121911-02 | 12/15/2024 23:59 | 12/15/2024 23:59 | 12/24/2024 12:56 | Ethylene oxide | 75-21-8 | 0.0937 |  | 0.0255 | ppbv | Eastern Research Group
Site 3 - Rec. Center | 4122018-03 | 12/16/2024 23:59 | 12/16/2024 23:59 | 12/24/2024 02:24 | Ethylene oxide | 75-21-8 | 0.0569 |  | 0.0255 | ppbv | Eastern Research Group
Site 3 - Rec. Center | 4122327-06 | 12/17/2024 23:59 | 12/17/2024 23:59 | 12/27/2024 20:39 | Ethylene oxide | 75-21-8 | 0.0374 |  | 0.0255 | ppbv | Eastern Research Group
Site 3 - Rec. Center | 4122327-07 | 12/18/2024 23:59 | 12/18/2024 23:59 | 12/25/2024 05:05 | Ethylene oxide | 75-21-8 | 0.0495 |  | 0.0255 | ppbv | Eastern Research Group
Site 3 - Rec. Center | 4122608-07 | 12/19/2024 23:59 | 12/20/2024 23:59 | 12/31/2024 04:33 | Ethylene oxide | 75-21-8 | 0.0382 |  | 0.0255 | ppbv | Eastern Research Group
Site 3 - Rec. Center | 4122608-21 | 12/20/2024 23:59 | 12/20/2024 23:59 | 01/01/2025 02:00 | Ethylene oxide | 75-21-8 | 0.0497 |  | 0.0255 | ppbv | Eastern Research Group
Site 3 - Rec. Center C1 | 4122608-36 | 12/21/2024 23:59 | 12/21/2024 23:59 | 12/31/2024 21:45 | Ethylene oxide | 75-21-8 | 0.0723 |  | 0.0255 | ppbv | Eastern Research Group
Site 3 - Rec. Center C2 | 4122608-14 | 12/21/2024 23:59 | 12/21/2024 23:59 | 12/31/2024 19:38 | Ethylene oxide | 75-21-8 | 0.0516 |  | 0.0255 | ppbv | Eastern Research Group
Site 3 - Rec. Center | 4122608-35 | 12/22/2024 23:59 | 12/22/2024 23:59 | 01/04/2025 05:26 | Ethylene oxide | 75-21-8 | 0.066 |  | 0.0255 | ppbv | Eastern Research Group
Site 4 - Sunset Park | 4122018-04 | 12/15/2024 23:59 | 12/15/2024 23:59 | 12/24/2024 03:28 | Ethylene oxide | 75-21-8 | 0.0727 |  | 0.0255 | ppbv | Eastern Research Group
Site 4 - Sunset Park | 4122018-05 | 12/16/2024 23:59 | 12/16/2024 23:59 | 12/24/2024 21:39 | Ethylene oxide | 75-21-8 | 0.0598 |  | 0.0255 | ppbv | Eastern Research Group
Site 4 - Sunset Park | 4122327-08 | 12/17/2024 23:59 | 12/17/2024 23:59 | 12/27/2024 22:47 | Ethylene oxide | 75-21-8 | 0.0846 |  | 0.0255 | ppbv | Eastern Research Group
Site 4 - Sunset Park | 4122327-09 | 12/18/2024 23:59 | 12/18/2024 23:59 | 12/28/2024 01:58 | Ethylene oxide | 75-21-8 | 0.049 |  | 0.0255 | ppbv | Eastern Research Group
Site 4 - Sunset Park | 4122608-13 | 12/19/2024 23:59 | 12/20/2024 23:59 | 12/31/2024 23:52 | Ethylene oxide | 75-21-8 | 0.0539 |  | 0.0255 | ppbv | Eastern Research Group
Site 4 - Sunset Park C1 | 4122608-09 | 12/20/2024 23:59 | 12/20/2024 23:59 | 12/30/2024 23:13 | Ethylene oxide | 75-21-8 | 0.0502 |  | 0.0255 | ppbv | Eastern Research Group
Site 4 - Sunset Park C2 | 4122608-03 | 12/20/2024 23:59 | 12/20/2024 23:59 | 12/31/2024 01:21 | Ethylene oxide | 75-21-8 | 0.0348 |  | 0.0255 | ppbv | Eastern Research Group
Site 4 - Sunset Park | 4122608-02 | 12/21/2024 23:59 | 12/21/2024 23:59 | 12/30/2024 21:06 | Ethylene oxide | 75-21-8 | 0.05 |  | 0.0255 | ppbv | Eastern Research Group
Site 5 - Daniels CC | 4122327-10 | 12/15/2024 23:59 | 12/15/2024 23:59 | 12/28/2024 00:54 | Ethylene oxide | 75-21-8 | 0.0278 |  | 0.0255 | ppbv | Eastern Research Group
Site 5 - Daniels CC | 4122018-06 | 12/16/2024 23:59 | 12/16/2024 23:59 | 12/24/2024 22:42 | Ethylene oxide | 75-21-8 | 0.0325 |  | 0.0255 | ppbv | Eastern Research Group
Site 5 - Daniels CC | 4122327-11 | 12/17/2024 23:59 | 12/17/2024 23:59 | 12/27/2024 23:50 | Ethylene oxide | 75-21-8 | 1.08 |  | 0.0255 | ppbv | Eastern Research Group
Site 5 - Daniels CC | 4122327-12 | 12/18/2024 23:59 | 12/18/2024 23:59 | 12/28/2024 03:01 | Ethylene oxide | 75-21-8 | 0.0324 |  | 0.0255 | ppbv | Eastern Research Group
Site 5 - Daniels CC | 4122608-17 | 12/19/2024 23:59 | 12/20/2024 23:59 | 01/03/2025 23:58 | Ethylene oxide | 75-21-8 | 0.0331 | D, U | 0.0545 | ppbv | Eastern Research Group
Site 5 - Daniels CC | 4122608-20 | 12/19/2024 23:59 | 12/20/2024 23:59 | 01/04/2025 02:04 | Ethylene oxide | 75-21-8 | 0.0375 | D, U | 0.0662 | ppbv | Eastern Research Group
Site 5 - Daniels CC | 4122608-01 | 12/20/2024 23:59 | 12/20/2024 23:59 | 12/30/2024 20:02 | Ethylene oxide | 75-21-8 | 0.053 |  | 0.0255 | ppbv | Eastern Research Group
Site 5 - Daniels CC | 4122608-37 | 12/21/2024 23:59 | 12/21/2024 23:59 | 01/04/2025 05:56 | Ethylene oxide | 75-21-8 | 0.0335 |  | 0.0255 | ppbv | Eastern Research Group
Site 6 - West Metro FD | 4121911-05 | 12/15/2024 23:59 | 12/15/2024 23:59 | 12/24/2024 18:28 | Ethylene oxide | 75-21-8 | 0.0293 |  | 0.0255 | ppbv | Eastern Research Group
Site 6 - West Metro FD C1 | 4122018-07 | 12/16/2024 23:59 | 12/16/2024 23:59 | 12/30/2024 15:47 | Ethylene oxide | 75-21-8 | 0.0253 | U | 0.0255 | ppbv | Eastern Research Group
Site 6 - West Metro FD C2 | 4122018-08 | 12/16/2024 23:59 | 12/16/2024 23:59 | 12/30/2024 17:55 | Ethylene oxide | 75-21-8 | 0.0273 |  | 0.0255 | ppbv | Eastern Research Group
Site 6 - West Metro FD | 4122327-13 | 12/17/2024 23:59 | 12/17/2024 23:59 | 12/28/2024 04:05 | Ethylene oxide | 75-21-8 | 0.0292 |  | 0.0255 | ppbv | Eastern Research Group
Site 6 - West Metro FD | 4122327-14 | 12/18/2024 23:59 | 12/18/2024 23:59 | 12/30/2024 14:44 | Ethylene oxide | 75-21-8 | 0.03 |  | 0.0255 | ppbv | Eastern Research Group
Site 6 - West Metro FD | 4122608-10 | 12/19/2024 23:59 | 12/20/2024 23:59 | 12/31/2024 06:40 | Ethylene oxide | 75-21-8 | 0.0246 | U | 0.0255 | ppbv | Eastern Research Group
Site 6 - West Metro FD | 4122608-25 | 12/20/2024 23:59 | 12/20/2024 23:59 | 01/01/2025 06:17 | Ethylene oxide | 75-21-8 | 0.03 |  | 0.0255 | ppbv | Eastern Research Group
Site 6 - West Metro FD | 4122608-31 | 12/21/2024 23:59 | 12/21/2024 23:59 | 01/02/2025 13:54 | Ethylene oxide | 75-21-8 | 0.0475 |  | 0.0255 | ppbv | Eastern Research Group
Site 7 - JeffCo Health C1 | 4121911-03 | 12/15/2024 23:59 | 12/15/2024 23:59 | 12/24/2024 14:03 | Ethylene oxide | 75-21-8 | 0.0291 |  | 0.0255 | ppbv | Eastern Research Group
Site 7 - JeffCo Health C2 | 4121911-04 | 12/15/2024 23:59 | 12/15/2024 23:59 | 12/24/2024 16:17 | Ethylene oxide | 75-21-8 | 0.0476 |  | 0.0255 | ppbv | Eastern Research Group
Site 7 - JeffCo Health | 4122018-09 | 12/16/2024 23:59 | 12/16/2024 23:59 | 12/24/2024 23:46 | Ethylene oxide | 75-21-8 | 0.0397 |  | 0.0255 | ppbv | Eastern Research Group
Site 7 - JeffCo Health | 4122327-15 | 12/17/2024 23:59 | 12/17/2024 23:59 | 12/28/2024 05:09 | Ethylene oxide | 75-21-8 | 0.0285 |  | 0.0255 | ppbv | Eastern Research Group
Site 7 - JeffCo Health | 4122327-16 | 12/18/2024 23:59 | 12/18/2024 23:59 | 12/28/2024 06:13 | Ethylene oxide | 75-21-8 | 0.0384 |  | 0.0255 | ppbv | Eastern Research Group
Site 7 - JeffCo Health | 4122608-08 | 12/19/2024 23:59 | 12/20/2024 23:59 | 12/31/2024 05:37 | Ethylene oxide | 75-21-8 | 0.0273 |  | 0.0255 | ppbv | Eastern Research Group
Site 7 - JeffCo Health | 4122608-22 | 12/20/2024 23:59 | 12/20/2024 23:59 | 01/01/2025 03:03 | Ethylene oxide | 75-21-8 | 0.037 |  | 0.0255 | ppbv | Eastern Research Group
Site 7 - JeffCo Health | 4122608-15 | 12/21/2024 23:59 | 12/21/2024 23:59 | 12/31/2024 18:34 | Ethylene oxide | 75-21-8 | 0.0328 |  | 0.0255 | ppbv | Eastern Research Group
Site 8 - NREL-BG | 4121911-08 | 12/15/2024 23:59 | 12/15/2024 23:59 | 12/24/2024 20:35 | Ethylene oxide | 75-21-8 | 1.6 |  | 0.0255 | ppbv | Eastern Research Group
Site 8 - NREL-BG | 4122018-10 | 12/16/2024 23:59 | 12/16/2024 23:59 | 12/25/2024 00:50 | Ethylene oxide | 75-21-8 | 2.78 |  | 0.0255 | ppbv | Eastern Research Group
Site 8 - NREL-BG | 4122327-19 | 12/17/2024 23:59 | 12/17/2024 23:59 | 12/27/2024 14:17 | Ethylene oxide | 75-21-8 | 0.0413 |  | 0.0255 | ppbv | Eastern Research Group
Site 8 - NREL-BG | 4122327-20 | 12/18/2024 23:59 | 12/20/2024 23:59 | 12/27/2024 21:43 | Ethylene oxide | 75-21-8 | 0.0447 |  | 0.0255 | ppbv | Eastern Research Group
Site 8 - NREL-BG C1 | 4122608-18 | 12/19/2024 23:59 | 12/20/2024 23:59 | 01/04/2025 01:42 | Ethylene oxide | 75-21-8 | ND | U | 0.0255 | ppbv | Eastern Research Group
Site 8 - NREL-BG C2 | 4122608-19 | 12/19/2024 23:59 | 12/20/2024 23:59 | 01/04/2025 03:49 | Ethylene oxide | 75-21-8 | 0.0316 | U | 0.0255 | ppbv | Eastern Research Group
Site 8 - NREL-BG | 4122608-23 | 12/20/2024 23:59 | 12/20/2024 23:59 | 01/01/2025 04:08 | Ethylene oxide | 75-21-8 | 0.0259 |  | 0.0255 | ppbv | Eastern Research Group
Site 8 - NREL-BG | 4122608-16 | 12/21/2024 23:59 | 12/21/2024 23:59 | 01/01/2025 00:56 | Ethylene oxide | 75-21-8 | 0.0278 |  | 0.0255 | ppbv | Eastern Research Group
Site 9 - La Casa-BG | 4122018-11 | 12/15/2024 23:59 | 12/15/2024 23:59 | 12/25/2024 01:53 | Ethylene oxide | 75-21-8 | 0.0256 |  | 0.0255 | ppbv | Eastern Research Group
Site 9 - La Casa-BG | 4122018-12 | 12/16/2024 23:59 | 12/16/2024 23:59 | 12/25/2024 02:57 | Ethylene oxide | 75-21-8 | 0.0604 |  | 0.0255 | ppbv | Eastern Research Group
Site 9 - La Casa-BG | 4122327-17 | 12/17/2024 23:59 | 12/17/2024 23:59 | 12/27/2024 15:21 | Ethylene oxide | 75-21-8 | 0.153 |  | 0.0255 | ppbv | Eastern Research Group
Site 9 - La Casa-BG | 4122327-18 | 12/18/2024 23:59 | 12/18/2024 23:59 | 12/28/2024 07:16 | Ethylene oxide | 75-21-8 | 0.0252 | U | 0.0255 | ppbv | Eastern Research Group
Site 9 - La Casa-BG | 4122608-05 | 12/19/2024 23:59 | 12/20/2024 23:59 | 12/31/2024 03:29 | Ethylene oxide | 75-21-8 | 0.0259 |  | 0.0255 | ppbv | Eastern Research Group
Site 9 - La Casa-BG C1 | 4122608-32 | 12/20/2024 23:59 | 12/20/2024 23:59 | 01/02/2025 14:58 | Ethylene oxide | 75-21-8 | 0.0316 |  | 0.0255 | ppbv | Eastern Research Group
Site 9 - La Casa-BG C2 | 4122608-33 | 12/20/2024 23:59 | 12/20/2024 23:59 | 01/02/2025 17:05 | Ethylene oxide | 75-21-8 | 0.0355 |  | 0.0255 | ppbv | Eastern Research Group
Site 9 - La Casa-BG | 4122608-12 | 12/21/2024 23:59 | 12/21/2024 23:59 | 01/04/2025 06:29 | Ethylene oxide | 75-21-8 | 0.113 |  | 0.0255 | ppbv | Eastern Research Group

## QC Data
SOURCEID | QCTYPE | PREPDATE | ANADATE | ANALYTE | RESULT | ANOTE | SOURCERES | SPIKELEVEL | RECOVERY | RPD | DL | UNITS | LABNAME
4121911-03 | Duplicate | 12/15/2024 07:38 | 12/24/2024 15:11 | Ethylene oxide | 0.0224 | U | 0.0291 |  |  |  | 0.0255 | ppbv | Eastern Research Group
4121911-04 | Duplicate | 12/15/2024 07:38 | 12/24/2024 17:24 | Ethylene oxide | 0.0493 |  | 0.0476 |  |  | 3.51 | 0.0255 | ppbv | Eastern Research Group
4122018-04 | Duplicate | 12/15/2024 08:06 | 12/24/2024 04:32 | Ethylene oxide | 0.075 |  | 0.0727 |  |  | 3.11 | 0.0255 | ppbv | Eastern Research Group
4122018-08 | Duplicate | 12/20/2024 10:46 | 12/30/2024 18:58 | Ethylene oxide | 0.0253 | U | 0.0273 |  |  |  | 0.0255 | ppbv | Eastern Research Group
4122327-04 | Duplicate | 12/18/2024 10:12 | 12/27/2024 17:28 | Ethylene oxide | 0.0652 |  | 0.0563 |  |  | 14.7 | 0.0255 | ppbv | Eastern Research Group
4122327-05 | Duplicate | 12/18/2024 10:12 | 12/27/2024 19:36 | Ethylene oxide | 0.0394 |  | 0.0444 |  |  | 11.9 | 0.0255 | ppbv | Eastern Research Group
4122608-03 | Duplicate | 12/20/2024 10:46 | 12/31/2024 02:25 | Ethylene oxide | 0.0337 |  | 0.0348 |  |  | 3.21 | 0.0255 | ppbv | Eastern Research Group
4122608-07 | Duplicate | 12/20/2024 10:46 | 12/30/2024 16:51 | Ethylene oxide | 0.0322 |  | 0.0382 |  |  | 17 | 0.0255 | ppbv | Eastern Research Group
4122608-09 | Duplicate | 12/20/2024 10:46 | 12/31/2024 00:17 | Ethylene oxide | 0.0487 |  | 0.0502 |  |  | 3.03 | 0.0255 | ppbv | Eastern Research Group
4122608-14 | Duplicate | 12/20/2024 12:35 | 12/31/2024 20:41 | Ethylene oxide | 0.0465 |  | 0.0516 |  |  | 10.4 | 0.0255 | ppbv | Eastern Research Group
4122608-17 | Duplicate | 01/02/2025 10:54 | 01/04/2025 01:02 | Ethylene oxide | 0.0405 | D, U | ND |  |  |  | 0.0545 | ppbv | Eastern Research Group
4122608-18 | Duplicate | 12/20/2024 09:21 | 01/04/2025 02:46 | Ethylene oxide | ND | U | ND |  |  |  | 0.0532 | ppbv | Eastern Research Group
4122608-19 | Duplicate | 12/20/2024 09:21 | 01/04/2025 04:52 | Ethylene oxide | 0.0293 | U | ND |  |  |  | 0.0482 | ppbv | Eastern Research Group
4122608-20 | Duplicate | 01/02/2025 10:54 | 01/04/2025 03:07 | Ethylene oxide | 0.0361 | D, U | ND |  |  |  | 0.0662 | ppbv | Eastern Research Group
4122608-27 | Duplicate | 12/20/2024 12:35 | 01/01/2025 08:25 | Ethylene oxide | 0.0338 |  | 0.0336 |  |  | 0.593 | 0.0255 | ppbv | Eastern Research Group
4122608-28 | Duplicate | 12/20/2024 12:35 | 01/01/2025 10:32 | Ethylene oxide | 0.0737 |  | 0.0724 |  |  | 1.78 | 0.0255 | ppbv | Eastern Research Group
4122608-32 | Duplicate | 12/20/2024 08:37 | 01/02/2025 16:02 | Ethylene oxide | 0.0372 |  | 0.0316 |  |  | 16.3 | 0.0255 | ppbv | Eastern Research Group
4122608-33 | Duplicate | 12/20/2024 08:37 | 01/02/2025 18:09 | Ethylene oxide | 0.0395 |  | 0.0355 |  |  | 10.7 | 0.0255 | ppbv | Eastern Research Group
4122608-36 | Duplicate | 12/20/2024 12:35 | 12/31/2024 22:49 | Ethylene oxide | 0.064 |  | 0.0723 |  |  | 12.2 | 0.0255 | ppbv | Eastern Research Group
| Blank | 12/06/2024 08:06 | 12/23/2024 11:34 | Ethylene oxide | ND | U |  |  |  |  | 0.0255 | ppbv | Eastern Research Group
| Blank | 12/09/2024 07:38 | 12/24/2024 10:46 | Ethylene oxide | ND | U |  |  |  |  | 0.0255 | ppbv | Eastern Research Group
| Blank | 12/09/2024 10:12 | 12/27/2024 13:14 | Ethylene oxide | ND | U |  |  |  |  | 0.0255 | ppbv | Eastern Research Group
| Blank | 12/30/2024 10:46 | 12/30/2024 13:40 | Ethylene oxide | ND | U |  |  |  |  | 0.0255 | ppbv | Eastern Research Group
| Blank | 12/09/2024 12:35 | 12/31/2024 15:27 | Ethylene oxide | ND | U |  |  |  |  | 0.0255 | ppbv | Eastern Research Group
| Blank | 12/09/2024 08:37 | 01/02/2025 11:46 | Ethylene oxide | ND | U |  |  |  |  | 0.0255 | ppbv | Eastern Research Group
| Blank | 12/09/2024 09:21 | 01/03/2025 11:58 | Ethylene oxide | ND | U |  |  |  |  | 0.0255 | ppbv | Eastern Research Group
| Blank | 12/30/2024 10:54 | 01/03/2025 13:28 | Ethylene oxide | ND | U |  |  |  |  | 0.0255 | ppbv | Eastern Research Group
| Calibration Check | 12/23/2024 08:05 | 12/23/2024 10:30 | Ethylene oxide | 1.04 |  |  | 0.956 | 109 |  |  | ppbv | Eastern Research Group
| Calibration Check | 12/23/2024 08:05 | 12/24/2024 05:36 | Ethylene oxide | 1.08 |  |  | 0.956 | 113 |  |  | ppbv | Eastern Research Group
| Calibration Check | 12/24/2024 07:41 | 12/24/2024 09:43 | Ethylene oxide | 1.03 |  |  | 0.956 | 108 |  |  | ppbv | Eastern Research Group
| Calibration Check | 12/24/2024 07:41 | 12/25/2024 06:08 | Ethylene oxide | 1.05 |  |  | 0.956 | 110 |  |  | ppbv | Eastern Research Group
| Calibration Check | 12/27/2024 10:18 | 12/27/2024 12:10 | Ethylene oxide | 1.01 |  |  | 0.956 | 105 |  |  | ppbv | Eastern Research Group
| Calibration Check | 12/27/2024 10:18 | 12/28/2024 08:20 | Ethylene oxide | 1.05 |  |  | 0.956 | 110 |  |  | ppbv | Eastern Research Group
| Calibration Check | 12/30/2024 10:55 | 12/30/2024 12:36 | Ethylene oxide | 0.989 |  |  | 0.956 | 103 |  |  | ppbv | Eastern Research Group
| Calibration Check | 12/30/2024 10:55 | 12/31/2024 09:52 | Ethylene oxide | 1.03 |  |  | 0.956 | 107 |  |  | ppbv | Eastern Research Group
| Calibration Check | 12/31/2024 12:48 | 12/31/2024 14:24 | Ethylene oxide | 1.01 |  |  | 0.956 | 105 |  |  | ppbv | Eastern Research Group
| Calibration Check | 12/31/2024 12:48 | 01/01/2025 11:36 | Ethylene oxide | 1.02 |  |  | 0.956 | 107 |  |  | ppbv | Eastern Research Group
| Calibration Check | 01/02/2025 08:56 | 01/02/2025 10:43 | Ethylene oxide | 1.02 |  |  | 0.956 | 107 |  |  | ppbv | Eastern Research Group
| Calibration Check | 01/02/2025 08:56 | 01/03/2025 06:55 | Ethylene oxide | 0.967 |  |  | 0.956 | 101 |  |  | ppbv | Eastern Research Group
| Calibration Check | 01/03/2025 07:34 | 01/03/2025 10:54 | Ethylene oxide | 0.964 |  |  | 0.956 | 101 |  |  | ppbv | Eastern Research Group
| Calibration Check | 01/03/2025 07:34 | 01/04/2025 07:00 | Ethylene oxide | 0.948 |  |  | 0.956 | 99.2 |  |  | ppbv | Eastern Research Group
| Calibration Check | 01/03/2025 11:00 | 01/03/2025 12:26 | Ethylene oxide | 0.832 |  |  | 0.956 | 87.1 |  |  | ppbv | Eastern Research Group
| Calibration Check | 01/03/2025 11:00 | 01/04/2025 07:34 | Ethylene oxide | 1 |  |  | 0.956 | 105 |  |  | ppbv | Eastern Research Group

## Sampling Locations
SITE | LATITUDE | LONGITUDE
Site 1 - Park West | 39.734185° | -105.128087°
Site 2 - Bus Barn | 39.733502° | -105.125621°
Site 3 - Rec. Center | 39.732755° | -105.120654°
Site 4 - Sunset Park | 39.732516° | -105.115006°
Site 5 - Daniels CC | 39.736528° | -105.133049°
Site 6 - West Metro FD | 39.741128° | -105.126198°
Site 7 - JeffCo Health | 39.726885° | -105.121177°
Site 8 - NREL-BG | 39.743006° | -105.179279°
Site 9 - La Casa-BG | 39.779496° | -105.005186°

## Qualifiers
QUALIFIER | DESCRIPTION
D | This result obtained by dilution.
U | Under Detection Limit